## BASE BID
|  | PROJECT: RAVI PATEL CONVENIENCE STORE | [9 empty] | Web: http://sigmaestimations.com Email: info@sigmaestimations.com
ADDRESS: 917 BRATTLEBORO ROAD, HINSDALE, NH
ITEM # | DWG # | CSI #/SUB DETAIL | DESCRIPTION | QTY. | WASTE | QTY. W/ WASTE | UNIT | UNIT LAB HRS | LAB RATE | UNIT LABOR | UNIT MATERIAL | TOTAL UNIT COST | TOTAL COST | TRADE COST
|  | 10000 | DIVISION 01 — GENERAL REQUIREMENTS
1 |  |  | Submittal Procedures | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  | Temporary Facilities and Controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | Closeout Procedures | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | Payment Procedures | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Contract Modification Procedures | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | Maintenance & Traffic Protection | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [10 empty] | 0
|  | 260000 | DIVISION 26 — ELECTRICAL
Site Electrical
Lighting Fixtures
7 | ES.01 | E2.01 | Lighting Fixture P4 Description: NLS: NV-1-T4-32L-7-30K7-UNV-ASA-CXX | 3 | 0% | 3 | EA | 1.0889 | 45.75 | 49.8167 | 196 | 245.8167 | 737.45
8 | ES.01 | E2.01 | 20'-0" High Pole for Lighting Fixture P4 | 3 | 0% | 3 | EA | 8.3333 | 45.75 | 381.25 | 1500 | 1881.25 | 5643.75
9 | ES.01 | E2.01 | Lighting Fixture P5 Description: NLS: NV-1-T5-32L-1-30K7-UNV-ASA-CXX | 1 | 0% | 1 | EA | 1.0444 | 45.75 | 47.7833 | 188 | 235.7833 | 235.7833
10 | ES.01 | E2.01 | 20'-0" High Pole for Lighting Fixture P5 | 1 | 0% | 1 | EA | 8.3333 | 45.75 | 381.25 | 1500 | 1881.25 | 1881.25
Main Service Entrance Panel
11 | ES.01 | E2.01 | (1200 AMP, 120/ 208 V, 3 Phase, 4 Wire) Main Service Metering Equipment | 1 | 0% | 1 | EA | 21.3333 | 45.75 | 976 | 15040 | 16016 | 16016
Transformer
12 | ES.01 | E2.01 | Utility CO Pad Mount Transformer | 1 | 0% | 1 | EA | 62.2222 | 45.75 | 2846.6667 | 33200 | 36046.6667 | 36046.6667
Breaker
13 | ES.01 | E2.01 | (400 AMP, 208 V, 3 Pole, 65 KAIC) Breaker | 3 | 0% | 3 | EA | 8.8889 | 45.75 | 406.6667 | 1600 | 2006.6667 | 6020
Misc. Items
14 | ES.01 | E2.01 | Time Clock | 2 | 0% | 2 | EA | 0.88889 | 45.75 | 40.6667 | 160 | 200.6667 | 401.3333
15 | ES.01 | E2.01 | Dual Car EV Charging Station | 4 | 0% | 4 | EA | 13.5309 | 45.75 | 619.037 | 5480 | 6099.037 | 24396.1481
16 | ES.01 | E2.01 | Junction Box (JB) | 1 | 0% | 1 | EA | 0.17778 | 45.75 | 8.1333 | 32 | 40.1333 | 40.1333
17 | ES.01 | E2.01 | (4" Dia.) PVC Conduit Cap | 1 | 0% | 1 | EA | 0.12444 | 45.75 | 5.6933 | 22.4 | 28.0933 | 28.0933
18 | ES.01 | E2.01 | (5/8" x 10'-0") Copper Clad Ground Rod | 1 | 0% | 1 | EA | 0.62222 | 45.75 | 28.4667 | 112 | 140.4667 | 140.4667
19 | ES.01 | E2.01 | Class 320-A-208V-4W Commercial Grade Meter Socket W/ Lever By Pass | 3 | 0% | 3 | EA | 14.1111 | 45.75 | 645.5833 | 2540 | 3185.5833 | 9556.75
20 | ES.01 | E2.01 | (6'-0" x 3'-0") Hand Hole | 1 | 0% | 1 | EA | 5.3333 | 45.75 | 244 | 960 | 1204 | 1204
Conduits and Wires
21 | ES.01 | E2.01 | (1" Dia.) PVC 40 Conduit. Above Ground | 45.09 | 5% | 47.3445 | LF | 0.034133 | 45.75 | 1.5616 | 2.304 | 3.8656 | 183.0149
22 | ES.01 | E2.01 | 2#8 Wire | 90.18 | 5% | 94.689 | LF | 0.017209 | 45.75 | 0.78731 | 1.1616 | 1.9489 | 184.54
23 | ES.01 | E2.01 | 1#10 Wire | 45.09 | 5% | 47.3445 | LF | 0.0049778 | 45.75 | 0.22773 | 0.336 | 0.56373 | 26.6897
24 | ES.01 | E2.01 | (1" Dia.) PVC 40 Conduit. Above Ground | 40.2 | 5% | 42.21 | LF | 0.034133 | 45.75 | 1.5616 | 2.304 | 3.8656 | 163.167
25 | ES.01 | E2.01 | 2#10 Wire | 80.4 | 5% | 84.42 | LF | 0.0099556 | 45.75 | 0.45547 | 0.672 | 1.1275 | 95.1807
26 | ES.01 | E2.01 | 1#10 Wire | 40.2 | 5% | 42.21 | LF | 0.0049778 | 45.75 | 0.22773 | 0.336 | 0.56373 | 23.7952
27 | ES.01 | E2.01 | (1-1/2" Dia.) PVC 40 Conduit. Above Ground | 20.18 | 5% | 21.189 | LF | 0.0448 | 45.75 | 2.0496 | 3.024 | 5.0736 | 107.5045
28 | ES.01 | E2.01 | 4#8 Wire | 80.72 | 5% | 84.756 | LF | 0.034418 | 45.75 | 1.5746 | 2.3232 | 3.8978 | 330.3631
29 | ES.01 | E2.01 | 2#10 Wire | 40.36 | 5% | 42.378 | LF | 0.0099556 | 45.75 | 0.45547 | 0.672 | 1.1275 | 47.7798
30 | ES.01 | E2.01 | (3) (4" Dia.) PVC 40 Conduit. Above Ground | 51.54 | 5% | 54.117 | LF | 0.23467 | 45.75 | 10.736 | 15.84 | 26.576 | 1438.2134
31 | ES.01 | E2.01 | 3 Sets 4#600 MCM Wire | 618.48 | 5% | 649.404 | LF | 2.231 | 45.75 | 102.0701 | 150.5952 | 252.6653 | 164081.8435
32 | ES.01 | E2.01 | (1" Dia.) PVC 40 Conduit. Under Ground | 34.71 | 5% | 36.4455 | LF | 0.034133 | 45.75 | 1.5616 | 2.304 | 3.8656 | 140.8837
33 | ES.01 | E2.01 | 2#10 Wire | 69.42 | 5% | 72.891 | LF | 0.099556 | 45.75 | 4.5547 | 6.72 | 11.2747 | 821.8217
34 | ES.01 | E2.01 | 1#10 Wire | 34.71 | 5% | 36.4455 | LF | 0.0049778 | 45.75 | 0.22773 | 0.336 | 0.56373 | 20.5455
35 | ES.01 | E2.01 | (1" Dia.) PVC 40 Conduit. Under Ground | 316.11 | 5% | 331.9155 | LF | 0.034133 | 45.75 | 1.5616 | 2.304 | 3.8656 | 1283.0526
36 | ES.01 | E2.01 | 2#8 Wire | 632.22 | 5% | 663.831 | LF | 0.017209 | 45.75 | 0.78731 | 1.1616 | 1.9489 | 1293.7447
37 | ES.01 | E2.01 | 1#10 Wire | 316.11 | 5% | 331.9155 | LF | 0.0049778 | 45.75 | 0.22773 | 0.336 | 0.56373 | 187.1118
38 | ES.01 | E2.01 | (1-1/2" Dia.) PVC 40 Conduit. Under Ground | 501.7 | 5% | 526.785 | LF | 0.0448 | 45.75 | 2.0496 | 3.024 | 5.0736 | 2672.6964
39 | ES.01 | E2.01 | 4#8 Wire | 2006.8 | 5% | 2107.14 | LF | 0.034418 | 45.75 | 1.5746 | 2.3232 | 3.8978 | 8213.2384
40 | ES.01 | E2.01 | 2#10 Wire | 1003.4 | 5% | 1053.57 | LF | 0.0099556 | 45.75 | 0.45547 | 0.672 | 1.1275 | 1187.8651
41 | ES.01 | E2.01 | (4" Dia.) PVC 40 Conduit. Under Ground | 12.9 | 5% | 13.545 | LF | 0.23467 | 45.75 | 10.736 | 15.84 | 26.576 | 359.9719
42 | ES.01 | E2.01 | 3 Sets 4#600 MCM Wire | 154.8 | 5% | 162.54 | LF | 2.231 | 45.75 | 102.0701 | 150.5952 | 252.6653 | 41068.2146
43 | ES.01 | E2.01 | (1) (4" Dia.) PVC 40 Spare Conduit | 13 | 5% | 13.65 | LF | 0.078222 | 45.75 | 3.5787 | 5.28 | 8.8587 | 120.9208
Note: All Wires shall be Copper THW, THHN or XHW, 600 Volts Rated 75 Degree C Manufacturer: Anaconda or Collyer
Trench Details A
44 | ES.01 | E2.01 | 4" Dia. PVC 40 Conduit | 369.8 | 5% | 388.29 | LF | 0.15644 | 45.75 | 7.1573 | 10.56 | 17.7173 | 6879.4634
45 | ES.01 | E2.01 | 2#12 Wire | 739.6 | 5% | 776.58 | LF | 0.0056889 | 45.75 | 0.26027 | 0.384 | 0.64427 | 500.3246
46 | ES.01 | E2.01 | 1 #12 G Wire | 369.8 | 5% | 388.29 | LF | 0.0028444 | 45.75 | 0.13013 | 0.192 | 0.32213 | 125.0812
Trench Details B
47 | ES.01 | E2.01 | (4" Dia.) Primary Conduits. Wires are Assumed | 146.64 | 5% | 153.972 | LF | 0.15644 | 45.75 | 7.1573 | 10.56 | 17.7173 | 2727.9732
48 | ES.01 | E2.01 | 3#12 Wire | 439.92 | 5% | 461.916 | LF | 0.0085333 | 45.75 | 0.3904 | 0.576 | 0.9664 | 446.3956
49 | ES.01 | E2.01 | 1 #12 G Wire | 146.64 | 5% | 153.972 | LF | 0.0028444 | 45.75 | 0.13013 | 0.192 | 0.32213 | 49.5995
Trench Details C
50 | ES.01 | E2.01 | (4" Dia.) Communication Conduit. Wires are Assumed | 69.76 | 5% | 73.248 | LF | 0.15644 | 45.75 | 7.1573 | 10.56 | 17.7173 | 1297.7592
51 | ES.01 | E2.01 | 3 CAT 6 Wires | 209.28 | 5% | 219.744 | LF | 0.055467 | 45.75 | 2.5376 | 3.744 | 6.2816 | 1380.3439
Trench Details D
52 | ES.01 | E2.01 | (4" Dia.) Conduit to Panel P1B | 40.94 | 5% | 42.987 | LF | 0.078222 | 45.75 | 3.5787 | 5.28 | 8.8587 | 380.8075
53 | ES.01 | E2.01 | 4 #600 MCM Wire | 163.76 | 5% | 171.948 | LF | 0.74368 | 45.75 | 34.0234 | 50.1984 | 84.2218 | 14481.7632
54 | ES.01 | E2.01 | 1#1/0 Wire | 40.94 | 5% | 42.987 | LF | 0.039111 | 45.75 | 1.7893 | 2.64 | 4.4293 | 190.4038
Trench Details D
55 | ES.01 | E2.01 | (4" Dia.) Conduit to Panel P1 | 3.06 | 5% | 3.213 | LF | 0.078222 | 45.75 | 3.5787 | 5.28 | 8.8587 | 28.4629
56 | ES.01 | E2.01 | 4 #600 MCM Wire | 12.24 | 5% | 12.852 | LF | 0.74368 | 45.75 | 34.0234 | 50.1984 | 84.2218 | 1082.4181
57 | ES.01 | E2.01 | 1#1/0 Wire | 3.06 | 5% | 3.213 | LF | 0.039111 | 45.75 | 1.7893 | 2.64 | 4.4293 | 14.2314
Trench Details D
58 | ES.01 | E2.01 | (4" Dia.) Conduit to Panel P1A | 14.48 | 5% | 15.204 | LF | 0.078222 | 45.75 | 3.5787 | 5.28 | 8.8587 | 134.6872
59 | ES.01 | E2.01 | 4 #600 MCM Wire | 57.92 | 5% | 60.816 | LF | 0.74368 | 45.75 | 34.0234 | 50.1984 | 84.2218 | 5122.0306
60 | ES.01 | E2.01 | 1#1/0 Wire | 14.48 | 5% | 15.204 | LF | 0.039111 | 45.75 | 1.7893 | 2.64 | 4.4293 | 67.3436
Trench Details D
61 | ES.01 | E2.01 | (4" Dia.) Conduit to Panel P1A | 28.96 | 5% | 30.408 | LF | 0.15644 | 45.75 | 7.1573 | 10.56 | 17.7173 | 538.7487
62 | ES.01 | E2.01 | 4 #600 MCM Wire | 115.84 | 5% | 121.632 | LF | 0.74368 | 45.75 | 34.0234 | 50.1984 | 84.2218 | 10244.0611
63 | ES.01 | E2.01 | 1#1/0 Wire | 28.96 | 5% | 30.408 | LF | 0.039111 | 45.75 | 1.7893 | 2.64 | 4.4293 | 134.6872
64 | ES.01 | E2.01 | (4" Dia.) PVC 40 Spare Conduit | 14.48 | 5% | 15.204 | LF | 0.078222 | 45.75 | 3.5787 | 5.28 | 8.8587 | 134.6872
Trench Details D
65 | ES.01 | E2.01 | (4" Dia.) Conduits | 46.26 | 5% | 48.573 | LF | 0.15644 | 45.75 | 7.1573 | 10.56 | 17.7173 | 860.584
66 | ES.01 | E2.01 | 4 #600 MCM Wire | 185.04 | 5% | 194.292 | LF | 0.74368 | 45.75 | 34.0234 | 50.1984 | 84.2218 | 16363.6142
67 | ES.01 | E2.01 | 1#1/0 Wire | 46.26 | 5% | 48.573 | LF | 0.039111 | 45.75 | 1.7893 | 2.64 | 4.4293 | 215.146
68 | ES.01 | E2.01 | (4" Dia.) PVC 40 Spare Conduit | 14.48 | 5% | 15.204 | LF | 0.078222 | 45.75 | 3.5787 | 5.28 | 8.8587 | 134.6872
Trench Details D
69 | ES.01 | E2.01 | (4" Dia.) Conduits | 90.32 | 5% | 94.836 | LF | 0.15644 | 45.75 | 7.1573 | 10.56 | 17.7173 | 1680.241
70 | ES.01 | E2.01 | 4 #600 MCM Wire | 361.28 | 5% | 379.344 | LF | 0.74368 | 45.75 | 34.0234 | 50.1984 | 84.2218 | 31949.0193
71 | ES.01 | E2.01 | 1#1/0 Wire | 90.32 | 5% | 94.836 | LF | 0.039111 | 45.75 | 1.7893 | 2.64 | 4.4293 | 420.0603
72 | ES.01 | E2.01 | (4" Dia.) PVC 40 Spare Conduit | 45.16 | 5% | 47.418 | LF | 0.078222 | 45.75 | 3.5787 | 5.28 | 8.8587 | 420.0603
Trench Details E
73 | ES.01 | E2.01 | (3/4" Dia.) Conduit | 226.8 | 5% | 238.14 | LF | 0.099556 | 45.75 | 4.5547 | 6.72 | 11.2747 | 2684.9491
74 | ES.01 | E2.01 | 2#8 Wire | 453.6 | 5% | 476.28 | LF | 0.017209 | 45.75 | 0.78731 | 1.1616 | 1.9489 | 928.2253
75 | ES.01 | E2.01 | 1#10 Wire | 226.8 | 5% | 238.14 | LF | 0.0049778 | 45.75 | 0.22773 | 0.336 | 0.56373 | 134.2475
BUILDING WORK
Lighting Fixtures
76 | E1.01 | E2.01 | 2 X 4 Flat Panel (A) Manufacturer: METALUX Catalogue #: 24CGTX45L835 Type: LED Wattage: 35.6 | 40 | 0% | 40 | EA | 0.71822 | 45.75 | 32.8587 | 129.28 | 162.1387 | 6485.5467
77 | E1.01 | E2.01 | 2 X 4 Flat Panel W/ Emergency battery backup (A) Manufacturer: METALUX Catalogue #: 24CGTX45L835 Type: LED Wattage: 35.6 | 2 | 0% | 2 | EA | 0.75378 | 45.75 | 34.4853 | 135.68 | 170.1653 | 340.3307
78 | E1.01 | E2.01 | 4"ROUND DL (AA) Manufacturer: DMF Catalogue #: M4NCRNMD12935CAOM4TRSWH Type: LED Wattage: 16.5 | 2 | 0% | 2 | EA | 0.69689 | 45.75 | 31.8827 | 125.44 | 157.3227 | 314.6453
79 | E1.01 | E2.01 | 4"ROUND DL Emergency (AAE) Manufacturer: DMF Catalogue #: M4NCRNMD12935GAOM4TRSWHEM Type: LED Wattage: 16.5 | 2 | 0% | 2 | EA | 0.72889 | 45.75 | 33.3467 | 131.2 | 164.5467 | 329.0933
80 | E1.01 | E2.01 | 4"ROUND DL (B) Manufacturer: DMF Catalogue #: M4NCRNMD12935GAOM4TRSWH Type: LED Wattage: 16.5 | 8 | 0% | 8 | EA | 0.69689 | 45.75 | 31.8827 | 125.44 | 157.3227 | 1258.5813
81 | E1.01 | E2.01 | Wall Sign Light (BB) Manufacturer: LURALINE Catalogue #: RA11GNA22XCLTL8XXDIM010 Type: LED Wattage: 9.6 | 6 | 0% | 6 | EA | 0.62222 | 45.75 | 28.4667 | 112 | 140.4667 | 842.8
82 | E1.01 | E2.01 | 8-0" STRIP LIGHT( C) Manufacturer: METALUX Catalogue #: 8TSNX96SLLWUNVL840CD1U Type: LED Wattage: 64.2 | 7 | 0% | 7 | EA | 0.77511 | 45.75 | 35.4613 | 139.52 | 174.9813 | 1224.8693
83 | E1.01 | E2.01 | Lighting Fixture C1 Description: COOPER: HC610D010-HM60525830-61MDH | 2 | 0% | 2 | EA | 0.73956 | 45.75 | 33.8347 | 133.12 | 166.9547 | 333.9093
84 | E1.01 | E2.01 | 8-0" STRIP LIGHT (DO) Manufacturer: METALUX Catalogue #: 8TSNX82SLLWUNVL840CD1UZWSVPD3 Type: LED Wattage: 52.6 | 15 | 0% | 15 | EA | 0.76089 | 45.75 | 34.8107 | 136.96 | 171.7707 | 2576.56
85 | E1.01 | E2.01 | EXTERIOR EMERGENCY LIGHT (E) Manufacturer: MULE Catalogue #: EOEBB7L2-COLOR-DGPHLT Type: LED Wattage: 7.0 | 2 | 0% | 2 | EA | 0.63289 | 45.75 | 28.9547 | 113.92 | 142.8747 | 285.7493
86 | E1.01 | E2.01 | EMERGENCY BATTERY UNIT (EB) Manufacturer: MULE Catalogue #: SSLHOWSD Type: LED Wattage: 3.0 | 12 | 0% | 12 | EA | 0.59378 | 45.75 | 27.1653 | 106.88 | 134.0453 | 1608.544
87 | E1.01 | E2.01 | EXIT SIGN SELF CONTAINED (EX1) Manufacturer: MULE Catalogue #: ALURWWSD Type: LED Wattage: 3.0 | 7 | 0% | 7 | EA | 0.58667 | 45.75 | 26.84 | 105.6 | 132.44 | 927.08
88 | E1.01 | E2.01 | Lighting Fixture W3 Description: NLS: NV-W-T3-16L-35-30K7-UNV-WM-CXX | 4 | 0% | 4 | EA | 1.0667 | 45.75 | 48.8 | 192 | 240.8 | 963.2
89 | E1.01 | E2.01 | Lighting Fixture W4 Description: NLS: NV-W-T4-16L-53-30K7-UNV-WM-CXX | 4 | 0% | 4 | EA | 1.0933 | 45.75 | 50.02 | 196.8 | 246.82 | 987.28
Receptacles
90 | E1.02 | E2.01 | Tamper Proof Double Duplex Receptacle Manufacturer: Hubbell Co DR20- Color Series | 6 | 0% | 6 | EA | 0.37333 | 45.75 | 17.08 | 67.2 | 84.28 | 505.68
91 | E1.02 | E2.01 | Tamper Proof Duplex Receptacle Manufacturer: Hubbell Co DR20- Color Series | 21 | 0% | 21 | EA | 0.24178 | 45.75 | 11.0613 | 43.52 | 54.5813 | 1146.208
92 | E1.02 | E2.01 | Tamper Proof GFI Duplex Receptacle Manufacturer: Hubbell CO # GFI -5352-W | 6 | 0% | 6 | EA | 0.34844 | 45.75 | 15.9413 | 62.72 | 78.6613 | 471.968
93 | E1.02 | E2.01 | WP GFI Duplex Receptacle Manufacturer: Hubbell CO # GFI -5352-W | 2 | 0% | 2 | EA | 0.39111 | 45.75 | 17.8933 | 70.4 | 88.2933 | 176.5867
Note: All Receptacles to be Tamper Proof Style
Switches
94 | E1.02 | E2.01 | (0-10 V Rated) Dimmer Switch | 1 | 0% | 1 | EA | 0.22044 | 45.75 | 10.0853 | 39.68 | 49.7653 | 49.7653
95 | E1.02 | E2.01 | (30 AMP, 208 V, 2 P, NEMA 3R) Heavy Duty Fused Disconnect Switch Manufacturer: EATON CO | 1 | 0% | 1 | EA | 0.71111 | 45.75 | 32.5333 | 128 | 160.5333 | 160.5333
96 | E1.02 | E2.01 | (60 AMP, 208 V, 2 P, NEMA 3R) Heavy Duty Fused Disconnect Switch Manufacturer: EATON CO | 6 | 0% | 6 | EA | 0.97778 | 45.75 | 44.7333 | 176 | 220.7333 | 1324.4
97 | E1.02 | E2.01 | 3- Way Switch | 5 | 0% | 5 | EA | 0.31289 | 45.75 | 14.3147 | 56.32 | 70.6347 | 353.1733
98 | E1.02 | E2.01 | Single Pole Switch | 7 | 0% | 7 | EA | 0.21333 | 45.75 | 9.76 | 38.4 | 48.16 | 337.12
99 | E1.02 | E2.01 | Thermal Switch | 9 | 0% | 9 | EA | 0.33778 | 45.75 | 15.4533 | 60.8 | 76.2533 | 686.28
Note: Switches shall be Hubbell Co
Tenant A Panel
100 | E1.02 | E2.01 | (200 AMP, 120/ 208 V) Panel P1A 60 Spaces Manufacturer: EATON CO | 1 | 0% | 1 | EA | 19.5556 | 45.75 | 894.6667 | 3520 | 4414.6667 | 4414.6667
101 | E1.02 | E2.01 | (400 AMP, 120/ 208 V) Panel P1 30 Spaces Manufacturer: EATON CO | 1 | 0% | 1 | EA | 27.5556 | 45.75 | 1260.6667 | 4960 | 6220.6667 | 6220.6667
102 | E1.02 | E2.01 | (1-1/2" X 6'-0" Long) EMT Nipples for Panels | 8 | 0% | 8 | EA | 0.26667 | 45.75 | 12.2 | 48 | 60.2 | 481.6
Tenant B Panel
103 | E1.02 | E2.01 | (400 AMP, 120/ 208 V) Panel P1B 42 Spaces Manufacturer: EATON CO | 1 | 0% | 1 | EA | 30.2222 | 45.75 | 1382.6667 | 5440 | 6822.6667 | 6822.6667
104 | E1.02 | E2.01 | (1-1/2" X 6'-0" Long) EMT Nipples for Panel | 4 | 0% | 4 | EA | 0.26667 | 45.75 | 12.2 | 48 | 60.2 | 240.8
Breaker
105 | E1.02 | E2.01 | (20 AMP, 1 Pole) GFCI Rated Circuit Breaker | 1 | 0% | 1 | EA | 0.31289 | 45.75 | 14.3147 | 56.32 | 70.6347 | 70.6347
106 | E1.02 | E2.01 | (20 AMP, 1 Pole) Lockable Circuit Breaker | 1 | 0% | 1 | EA | 0.26667 | 45.75 | 12.2 | 48 | 60.2 | 60.2
Misc. Items
107 | E1.02 | E2.01 | (2" Dia.) Conduit Cap | 1 | 0% | 1 | EA | 0.088889 | 45.75 | 4.0667 | 16 | 20.0667 | 20.0667
108 | E1.02 | E2.01 | Junction Box (JB) | 11 | 0% | 11 | EA | 0.17778 | 45.75 | 8.1333 | 32 | 40.1333 | 441.4667
109 | E1.02 | E2.01 | Photocell | 2 | 0% | 2 | EA | 0.71111 | 45.75 | 32.5333 | 128 | 160.5333 | 321.0667
110 | E1.02 | E2.01 | Type 1 Surge Protection Device No Conduit and Wire Required | 3 | 0% | 3 | EA | 0.91556 | 45.75 | 41.8867 | 164.8 | 206.6867 | 620.06
111 | E1.02 | E2.01 | Time Clock | 2 | 0% | 2 | EA | 0.88889 | 45.75 | 40.6667 | 160 | 200.6667 | 401.3333
112 | E1.02 | E2.01 | (4") Square or Octagon Outlet Boxes for Switches Manufacturer: Raco | 35 | 0% | 35 | EA | 0.17067 | 45.75 | 7.808 | 30.72 | 38.528 | 1348.48
113 | E1.02 | E2.01 | (4") Square or Octagon Outlet Boxes for Receptacles Manufacturer: Raco | 29 | 0% | 29 | EA | 0.17067 | 45.75 | 7.808 | 30.72 | 38.528 | 1117.312
114 | E1.02 | E2.01 | Conduit Hangers and Supports. Spacing is Assumed Hangers, Clips and Other Fasteners should be Zinc Coated | 245.3333 | 0% | 245.3333 | EA | 0.097778 | 45.75 | 4.4733 | 17.6 | 22.0733 | 5415.3244
Wiring & Conduits
115 | E1.02 | E2.01 | Conduits for Lightning Items Assume EMT Conduit | 1808 | 5% | 1898.4 | LF | 0.034133 | 45.75 | 1.5616 | 2.304 | 3.8656 | 7338.455
116 | E1.02 | E2.01 | Wiring for Lightning Items | 7232 | 5% | 7593.6 | LF | 0.0086044 | 45.75 | 0.39365 | 0.5808 | 0.97445 | 7399.6088
117 | E1.02 | E2.01 | Conduits for Power Items Assume EMT Conduit | 1136 | 5% | 1192.8 | LF | 0.034133 | 45.75 | 1.5616 | 2.304 | 3.8656 | 4610.8877
118 | E1.02 | E2.01 | Wiring for Power Items | 4544 | 5% | 4771.2 | LF | 0.0086044 | 45.75 | 0.39365 | 0.5808 | 0.97445 | 4649.3117
Note: All Wires shall be Copper THW, THHN or XHW, 600 Volts Rated 75 Degree C Manufacturer: Anaconda or Collyer
119 |  |  | Scaffolding/Lifts Interior (H= 15'-9" Average) | 6141.33 | 5% | 6448.3965 | SF | 0.032 | 45.75 | 1.464 | 2.16 | 3.624 | 23368.9889
120 |  |  | Additional Cost Based on Electrical Work Area | 6270 | 5% | 6583.5 | SF | 0.0058667 | 45.75 | 0.2684 | 1.056 | 1.3244 | 8719.1874
|  |  | SUBTOTAL | [10 empty] | 535924.7788
|  | 280000 | DIVISION 28 — ELECTRONIC SAFETY AND SECURITY
Sensor
121 | FA.01 | FA.02 | Carbon Monoxide Detector (CO) | 3 | 0% | 3 | EA | 0.62222 | 45.75 | 28.4667 | 112 | 140.4667 | 421.4
122 | FA.01 | FA.02 | Ceiling Mounted Motion Sensor (OS) | 1 | 0% | 1 | EA | 0.62222 | 45.75 | 28.4667 | 112 | 140.4667 | 140.4667
123 | FA.01 | FA.02 | Heat Detector Model: H365 Series | 9 | 0% | 9 | EA | 0.61156 | 45.75 | 27.9787 | 110.08 | 138.0587 | 1242.528
124 | FA.01 | FA.02 | Photo Electric Smoke Detector Model: SD365 Series | 13 | 0% | 13 | EA | 0.63289 | 45.75 | 28.9547 | 113.92 | 142.8747 | 1857.3707
125 | FA.01 | FA.02 | Wall Mounted Motion Sensor ($M) | 3 | 0% | 3 | EA | 0.53333 | 45.75 | 24.4 | 96 | 120.4 | 361.2
Fire Alarm Items
126 | FA.01 | FA.02 | Ceiling Mounted Horn/ Strobe (Rating = 75 Candela) | 5 | 0% | 5 | EA | 1.1556 | 45.75 | 52.8667 | 208 | 260.8667 | 1304.3333
127 | FA.01 | FA.02 | Fire Alarm Control Panel (FACP) | 1 | 0% | 1 | EA | 5.3333 | 45.75 | 244 | 960 | 1204 | 1204
128 | FA.01 | FA.02 | Fire Alarm Pull Station Model: BG12LX Series | 4 | 0% | 4 | EA | 0.8 | 45.75 | 36.6 | 144 | 180.6 | 722.4
129 | FA.01 | FA.02 | Fire Alarm Remote Beacon | 1 | 0% | 1 | EA | 0.54044 | 45.75 | 24.7253 | 97.28 | 122.0053 | 122.0053
130 | FA.01 | FA.02 | Fire Fighter Key Box | 1 | 0% | 1 | EA | 0.22044 | 45.75 | 10.0853 | 39.68 | 49.7653 | 49.7653
131 | FA.01 | FA.02 | Remote Annunciator Manufacturer: Fire Light Model: ANN-80 Series | 1 | 0% | 1 | EA | 3.0222 | 45.75 | 138.2667 | 544 | 682.2667 | 682.2667
132 | FA.01 | FA.02 | Strobe (Rating = 15 Candela) | 3 | 0% | 3 | EA | 0.54044 | 45.75 | 24.7253 | 97.28 | 122.0053 | 366.016
133 | FA.01 | FA.02 | Wall Mounted Horn/ Strobe (Rating = 15 Candela) | 3 | 0% | 3 | EA | 1.0667 | 45.75 | 48.8 | 192 | 240.8 | 722.4
134 | FA.01 | FA.02 | Wall Mounted Horn/ Strobe (Rating = 30 Candela) | 1 | 0% | 1 | EA | 1.1093 | 45.75 | 50.752 | 199.68 | 250.432 | 250.432
135 | FA.01 | FA.02 | Wall Mounted Horn/ Strobe (Rating = 75 Candela) | 1 | 0% | 1 | EA | 1.1556 | 45.75 | 52.8667 | 208 | 260.8667 | 260.8667
Wiring & Conduits
136 | FA.01 | FA.02 | Conduits EMT Conduit | 784 | 5% | 823.2 | LF | 0.034133 | 45.75 | 1.5616 | 2.304 | 3.8656 | 3182.1619
137 | FA.01 | FA.02 | Wiring | 3136 | 5% | 3292.8 | LF | 0.0086044 | 45.75 | 0.39365 | 0.5808 | 0.97445 | 3208.6799
Note: All Wires shall be Copper THW, THHN or XHW, 600 Volts Rated 75 Degree C Manufacturer: Anaconda or Collyer
138 |  |  | Scaffolding/Lifts Interior (H= 12'-0") | 4226.45 | 5% | 4437.7725 | SF | 0.032 | 45.75 | 1.464 | 2.16 | 3.624 | 16082.4875
139 |  |  | Additional Cost Based on Fire Alarm Work Area | 1020 | 5% | 1071 | SF | 0.0058667 | 45.75 | 0.2684 | 1.056 | 1.3244 | 1418.4324
|  |  | SUBTOTAL | [10 empty] | 33599.2125
|  | 310000 | DIVISION 31 — EARTH WORKER
Excavation
140 | ES.01 |  | Excavation for (1" Dia.) PVC 40 Conduit. Under Ground | 56.4056 | 5% | 59.2258 | CY | 0.62222 | 45.75 | 28.4667 | 0 | 28.4667 | 1685.9621
141 | ES.01 |  | Excavation for (1-1/2" Dia.) PVC 40 Conduit. Under Ground | 83.907 | 5% | 88.1024 | CY | 0.62222 | 45.75 | 28.4667 | 0 | 28.4667 | 2507.9803
142 | ES.01 |  | Excavation for (4" Dia.) PVC 40 Conduit. Under Ground | 10.6782 | 5% | 11.2121 | CY | 0.62222 | 45.75 | 28.4667 | 0 | 28.4667 | 319.1714
143 | ES.01 |  | Excavation For Trench Type A | 202.5103 | 5% | 212.6358 | CY | 0.62222 | 45.75 | 28.4667 | 0 | 28.4667 | 6053.0325
144 | ES.01 |  | Excavation For Trench Type B | 80.2598 | 5% | 84.2727 | CY | 0.62222 | 45.75 | 28.4667 | 0 | 28.4667 | 2398.964
145 | ES.01 |  | Excavation For Trench Type C | 38.1814 | 5% | 40.0905 | CY | 0.62222 | 45.75 | 28.4667 | 0 | 28.4667 | 1141.242
146 | ES.01 |  | Excavation For Trench Type D | 147.2305 | 5% | 154.592 | CY | 0.62222 | 45.75 | 28.4667 | 0 | 28.4667 | 4400.7182
147 | ES.01 |  | Excavation For Trench Type E | 151.4953 | 5% | 159.0701 | CY | 0.62222 | 45.75 | 28.4667 | 0 | 28.4667 | 4528.1949
148 | ES.01 |  | Excavation for (6'-0" x 3'-0") Hand Hole | 2 | 5% | 2.1 | CY | 0.62222 | 45.75 | 28.4667 | 0 | 28.4667 | 59.78
149 | LT-1 |  | Excavation for 20'-0" High Pole for Lighting Fixtures | 3.7215 | 5% | 3.9076 | CY | 0.62222 | 45.75 | 28.4667 | 0 | 28.4667 | 111.2351
6" Sand Bedding
150 | ES.01 |  | Sand Bedding For Trench Type A | 28.8577 | 5% | 30.3006 | CY | 0.17778 | 45.75 | 8.1333 | 12 | 20.1333 | 610.0521
151 | ES.01 |  | Sand Bedding For Trench Type B | 11.437 | 5% | 12.0089 | CY | 0.17778 | 45.75 | 8.1333 | 12 | 20.1333 | 241.7785
152 | ES.01 |  | Sand Bedding For Trench Type C | 5.4408 | 5% | 5.7129 | CY | 0.17778 | 45.75 | 8.1333 | 12 | 20.1333 | 115.0196
153 | ES.01 |  | Sand Bedding For Trench Type D | 20.9803 | 5% | 22.0294 | CY | 0.17778 | 45.75 | 8.1333 | 12 | 20.1333 | 443.5244
154 | ES.01 |  | Sand Bedding For Trench Type E | 19.9001 | 5% | 20.8951 | CY | 0.17778 | 45.75 | 8.1333 | 12 | 20.1333 | 420.6886
Sand Backfill
155 | ES.01 |  | Sand Backfill For Trench Type A | 105.5762 | 5% | 110.855 | CY | 0.17778 | 45.75 | 8.1333 | 12 | 20.1333 | 2231.881
156 | ES.01 |  | Sand Backfill For Trench Type B | 41.8424 | 5% | 43.9345 | CY | 0.17778 | 45.75 | 8.1333 | 12 | 20.1333 | 884.5487
157 | ES.01 |  | Sand Backfill For Trench Type C | 19.9054 | 5% | 20.9007 | CY | 0.17778 | 45.75 | 8.1333 | 12 | 20.1333 | 420.8001
158 | ES.01 |  | Sand Backfill For Trench Type D | 76.7568 | 5% | 80.5946 | CY | 0.17778 | 45.75 | 8.1333 | 12 | 20.1333 | 1622.6378
159 | ES.01 |  | Sand Backfill For Trench Type E | 80.577 | 5% | 84.6058 | CY | 0.17778 | 45.75 | 8.1333 | 12 | 20.1333 | 1703.3969
Structural Fill
160 | ES.01 |  | Structural Fill For Trench Type A | 86.7901 | 5% | 91.1296 | CY | 0.21333 | 45.75 | 9.76 | 14.4 | 24.16 | 2201.6919
161 | ES.01 |  | Structural Fill For Trench Type B | 34.397 | 5% | 36.1169 | CY | 0.21333 | 45.75 | 9.76 | 14.4 | 24.16 | 872.584
162 | ES.01 |  | Structural Fill For Trench Type C | 16.3635 | 5% | 17.1816 | CY | 0.21333 | 45.75 | 9.76 | 14.4 | 24.16 | 415.1082
163 | ES.01 |  | Structural Fill For Trench Type D | 63.0988 | 5% | 66.2537 | CY | 0.21333 | 45.75 | 9.76 | 14.4 | 24.16 | 1600.6895
164 | ES.01 |  | Structural Fill For Trench Type E | 59.85 | 5% | 62.8425 | CY | 0.21333 | 45.75 | 9.76 | 14.4 | 24.16 | 1518.2748
Backfill
165 | ES.01 |  | Backfill for (1" Dia.) PVC 40 Conduit. Under Ground | 56.3353 | 5% | 59.152 | CY | 0.35556 | 45.75 | 16.2667 | 0 | 16.2667 | 962.2062
166 | ES.01 |  | Backfill for (1-1/2" Dia.) PVC 40 Conduit. Under Ground | 83.8344 | 5% | 88.0261 | CY | 0.35556 | 45.75 | 16.2667 | 0 | 16.2667 | 1431.8919
167 | ES.01 |  | Backfill for (4" Dia.) PVC 40 Conduit. Under Ground | 9.3611 | 5% | 9.8291 | CY | 0.35556 | 45.75 | 16.2667 | 0 | 16.2667 | 159.8872
168 | ES.01 |  | Backfill for 20'-0" High Pole for Lighting Fixtures | 2 | 5% | 2.1 | CY | 0.62222 | 45.75 | 28.4667 | 0 | 28.4667 | 59.78
169 |  |  | Soil Export (Fluff Factor Applied) | 831.0621 | 5% | 872.6152 | CY | 0.26667 | 45.75 | 12.2 | 0 | 12.2 | 10645.9051
|  |  | SUBTOTAL | [10 empty] | 51768.6269
|  | 320000 | DIVISION 32 — EXTERIOR IMPROVEMENTS
Site Electrical
Concrete Encasements
170 | ES.01 |  | 3" Encasement around Conduits | 10.0685 | 5% | 10.5719 | CY | 1.8667 | 45.75 | 85.4 | 196 | 281.4 | 2974.9303
Concrete Pad
171 | ES.02 |  | (6" Thick) Pre Cast Transformer Pad (36 SF) | 0.5625 | 5% | 0.59062 | CY | 1.8667 | 45.75 | 85.4 | 196 | 281.4 | 166.2019
172 | ES.02 |  | Concrete for (6'-0" x 3'-0") Hand Hole | 2 | 5% | 2.1 | CY | 1.8667 | 45.75 | 85.4 | 196 | 281.4 | 590.94
Concrete Footing for Poles
173 | LT-1 |  | Concrete Footing for Poles | 5.117 | 5% | 5.3729 | CY | 1.8667 | 45.75 | 85.4 | 196 | 281.4 | 1511.9309
174 | LT-1 |  | Concrete for (6'-0" x 3'-0") Hand Hole | 2 | 5% | 2.1 | CY | 1.8667 | 45.75 | 85.4 | 196 | 281.4 | 590.94
175 | LT-1 |  | 5#5 Vertical Bars | 57.365 | 5% | 60.2332 | LBS | 0.0128 | 45.75 | 0.5856 | 0.864 | 1.4496 | 87.3141
Mobilization For Steel
176 |  |  | Mobilization For Steel/Reinforcement | 0.028682 | 5% | 0.030117 | TONS | 13.3333 | 45.75 | 610 | 0 | 610 | 18.3711
|  |  | SUBTOTAL | [10 empty] | 5940.6284
SUB TOTAL | [12 empty] | 627233.2466 | 627233.2466
TAX | [11 empty] | 8.5% |  | 53314.826
BID BOND | [11 empty] | 1.5% |  | 9408.4987
PROFIT | [11 empty] | 10% |  | 62723.3247
CONTIGENCIES | [11 empty] | 5% |  | 31361.6623
TOTAL BASEBID | [13 empty] | 784041.5582
General Exclusions: Any kind of controlled inspection, contaminated material, architect and engineering fees, security, building charges, signage, sign off, protection of adjoining building (if any), any work not mentioned above.
General Notes: The prices used are taken from RS Means online i.e. the standard pricing, the company is not responsible for any kind of variations in the prices. So it is preferred to review the prices.

## Excavation & Backfill
Trench Excavation & Backfill Calculation In CY
Sr.No | Description | Length (FT) | Pipe Dia (Inch) | Bedding(FT) | Pipe Dia (FT) | Pipe Zone Height (FT) | Native Fill Height (FT) | Area of Pipe (SF) | Volume of Pipe (CY) | Trench Width (FT) | Trench Depth (FT) | Excavation (CY) | (6" Thk) Sand Bedding (CY) | Sand Backfill (CY) | Native Backfill (CY)
Conduits
1 | 4" Dia PVC Conduit(A) | 370 | 7 | 0.5 | 1.1667 | 2.1667 | 2 | 1.0685 | 14.642 | 3.1667 | 4.6667 | 202.5103 | 28.8577 | 105.5762 | 86.7901 | 3.4424
2 | 4" Dia PVC Conduit(B) | 146.64 | 7 | 0.5 | 1.1667 | 2.1667 | 2 | 1.0685 | 5.803 | 3.1667 | 4.6667 | 80.2598 | 11.437 | 41.8424 | 34.397 | 1.3643
3 | 4" Dia PVC Conduit(C) | 69.76 | 7 | 0.5 | 1.1667 | 2.1667 | 2 | 1.0685 | 2.7606 | 3.1667 | 4.6667 | 38.1814 | 5.4408 | 19.9054 | 16.3635 | 0.64903
4 | 4" Dia PVC Conduit(D) | 269 | 7 | 0.5 | 1.1667 | 2.1667 | 2 | 1.0685 | 10.6451 | 3.1667 | 4.6667 | 147.2305 | 20.9803 | 76.7568 | 63.0988 | 2.5027
3 | 4" Dia PVC Conduit(E) | 226.8 | 3.75 | 0.5 | 1.5625 | 2.5625 | 2 | 1.9165 | 16.0986 | 3.5625 | 5.0625 | 151.4953 | 19.9001 | 80.577 | 59.85 | 2.1101
| Tracer Wire (LF) | 1082.2 | [12 empty] | Total | 10.0685

## UJ (hidden)
|  | PROJECT: | 625 PARK AVE PHASE 1B
|  | ADDRESS: | 625 PARK AVENUE,
NEW YORK, NY-10065.
[7 empty] | DATE | 2026-07-28
ITEM # | CSI SEC. | DESCRIPTION | QTY. | WASTE | QTY. W/ WASTE | UNIT | UNIT COST | TRADE COST |  |  | Single side areas
|  | SCOPE OF WORK | [8 empty] | Dry | Wet
1 | 09 29 | 2 layered 5/8" thick USG fiberock brand panels for walls and ceilings. | 11635 | 10% | 12798.5 | sf | 4 | 51194 | Type 1+Type 4+Type 6+ceiling | Type 1 | 2440 | 280 | 11635
2 | 09 29 | 2 layerd 5/8" thick USG fiberock aqua tough brand panels for wall and ceilings in wet areas. | 1185 | 10% | 1303.5 | sf | 4.5 | 5865.75 | Type 1+Type 4+Type 6+wet ceiling | Type 2 | 130 | 80 | 1185
3 | 09 29 | 2 layered 2 HR rated 5/8" thick USG fiberock brand panels for walls. | 260 | 10% | 286 | sf | 4.5 | 1287 | Type 2 | Type 3 |  |  | 260
4 | 09 29 | 2 layered 2 HR rated 5/8" thick USG fiberock aqua tough brand panels for walls in wet areas. | 160 | 10% | 176 | sf | 5 | 880 | Type 2 | Type 4 | 290 |  | 160
5 | 09 29 | 3 layered 3 HR rated 5/8" thick USG fiberock brand panels for walls. | 300 | 10% | 330 | sf | 4 | 1320 | Type 7 | Type 5 | 1200 |  | 300
6 | 09 26 | 3/32" thick gypsum veneer plaster skim coat. | 14740 | 10% | 16214 | sf | 4 | 64856 | Type 1+Type 2+ Type 4+Type 5+Type 6 +Type 7 | Type 6 | 2345 | 325 | 14740 | 14740 | 0
7 | 09 22 16 | 3-5/8" steel studs 20 GA @ 16" O.C. | 5750 | 10% | 6325 | sf | 2.5 | 15812.5 | Type 1+Type 2+Type 6+Type 7 | Type 7 | 150 |  | 5750
8 | 10 22 16 | 1-5/8" steel studs 20 GA @ 12" O.C. | 290 | 10% | 319 | sf | 2 | 638 | Type 4 | Type 8 | 20
8 | 09 22 26 | Ceiling suspension system. | 4130 | 10% | 4543 | sf | 3 | 13629 |  | Ceiling | 3830 | 300 | 4130
9 | 07 21 16 | Batt Insulation. | 5600 | 5% | 5880 | sf | 2 | 11760 | Type 1+Type 2+ Type 6 |  |  |  | 5600
10 | 07 21 16 | Batt Insulation type SAFB. | 150 | 10% | 165 | sf | 2.2 | 363 | Type 7 |  |  |  | 150
SUB TOTAL | [7 empty] | 167605.25
INSURANCE (3%) | [7 empty] | 5028.1575
TOTAL BASE BID | [7 empty] | 172633.4075
Exclusions
| 1 | Mouldings
| 2 | Patch work
| 3 | Fixtures
| 4 | Electrical work
| 5 | Stone and/or tile work
| 6 | Wall type 8 [no details on provided on the drawing]

## DETAIL (2) (hidden)
| PROJECT: | 625 PARK AVE PHASE 1B
| ADDRESS: | 625 PARK AVENUE
NEW YORK, NY 10065
|  |  |  | DATE | 2026-07-28
ITEM # | DESCRIPTION | UNIT COST | QTY. | UNIT | TRADE COST
SCOPE OF WORK
1 | 5/8" 2 layered USG fiberock brand panels. |  | 7898 | sf | 0 | Type 1+Type 4+Type 6+ceiling
2 | 5/8" 2 layered USG fiberock aqua tough brand panels. (Wet area). |  | 936 | sf | 0 | Type 1+Type 4+Type 6+wet ceiling |  | Height 9'6"
3 | 2 HR rated 5/8" 2 layered USG fiberock brand panels. |  | 128 | sf | 0 | Type 2 |  | For Doors & Cabinets 1'3"
4 | 2 HR rated 5/8" 2 layered USG fiberock aqua tough brand panels. (Wet area). |  | 78 | sf | 0 | Type 2
5 | 3 HR rated 5/8" 3 layered USG fiberock brand panels. |  | 148 | sf | 0 | Type 7
6 | 3/32" thick gypsum veneer plaster skim coat. |  | 6589 | sf | 0 | Type 1+Type 2+ Type 4+Type 5+Type 6 +Type 7
7 | 3 5/8" steel studs 20 GA @ 16" O.C. |  | 4968 | sf | 0 | Type 1+Type 2+Type 6+Type 7
8 | 1 5/8" steel studs 20 GA @ 12" O.C. |  | 277 | sf | 0 | Type 4
9 | Batt sound Insulation. |  | 4821 | sf | 0 | Type 1+Type 2+ Type 6
10 | Batt sound Insulation type SAFB. |  | 148 | sf | 0 | Type 7 | QTY Details
[7 empty] | Type 1 | 2538 | 2520
TOTAL |  |  |  |  | 0 |  | Type 2 | 205 | 206
| Exclusions | [5 empty] | Type 3 | N/A
1 | Mouldings | [5 empty] | Type 4 | 277 | 290
2 | Patch work | [5 empty] | Type 5 | 1342 | 1200
3 | Fixtures | [5 empty] | Type 6 | 2077 | 2670
4 | Electrical work | [5 empty] | Type 7 | 148 | 150
5 | Stone and/or tile work | [5 empty] | Type 8 | 22 | 20 | No details given
6 | [6 empty] | Ceiling | 3830
[7 empty] | Wet Ceiling | 292
DETAILS
| Type 1- Interior Partition |  |  |  |  | Type 2- 2HR rated Interior Partition | Type
| 2 layers 5/8' USG fiberock brand panels (Fiberock aqua tough brand at all wet areas) Glue second layer, finished with 3-32" thick gypsum veneer plaster skim coat. 3 5/8" Stl studs 20 GA @16" O.C with Batt insulation. 2 layers 5/8" USG fiberock brand panels(Fiberock aqua tough brand at all wet areas finished 3-32" thick gypsum veneer plaster skim coat |  |  |  |  | 2 layers 5/8' USG fiberock brand panels (Fiberock aqua tough brand at all wet areas) Glue second layer, finished with 3-32" thick gypsum veneer plaster skim coat. 3 5/8" Stl studs 20 GA @16" O.C with Batt insulation. 2 layers 5/8" USG fiberock brand panels(Fiberock aqua tough brand at all wet areas finished 3-32" thick gypsum veneer plaster skim coat
| TYPE 3 Interior partition at chase |  |  |  |  | TYPE 4 Pocket door partition
| 2 layer 5/8" USG fiberock brand panels ( Fiberock aqua tough brand at all wet areas ) Glue second layer fill batt insulation, finished with 3/32" thick gypsum veneer plaster skim coat. 20 Ga 2-1/2" mtl studs @ 16 O.C. with batt insulation. Pipe chase space. 2 layers 5/8" USG fiberock brand panels (Fiberock aqua tough brand at all wet areas finished with 3/32" thick gypsum veneer plaster skim coat. |  |  |  |  | 2 Layers 5/8" USG fiberock brand panels (Fiberock Aqua tough brand at all wet areas) Glue second layer, Finished with 3/32" thick gypsum veneer plaster skim coat. 1 5/8" 20 Ga stl studs @12 O.C. 2 layer 5/8" USG fiberock brand panels (fiberock aqua tough brand at wet areas) finished with 3/32" thick gypsum veneer plaster skim coat.
| TYPE 5 Existing wall skim coat |  |  |  |  | TYPE 6 EXISTING WALL- Furring
| Apply 3/32" Thick gypsum veneer skim coat. Fill and smooth all imperfections |  |  |  |  | 3 5/8" 20 Ga stl studs @ 16 O.C. 2 layers 5/8" USG fiberock brand panels dimensions from exterior wall to be varified with architect. Fill with Batt insulation, Finished with 3/32" Thick Gypsum veneer plaster skim coat
TYPE 7 Interior Partition- 3 Hr rated
3 layer 5/8" USG fiberock brand panels, glue third layer finished with 3/32" thick gypsum veneer plaster skim coat. 3 5/8" stl studs 20 GA @16"O.C. Batt insulation Type SAFB. 3 layer 5/8" USG fiberock brand panels, glue third layer finished with 3-32" thick gypsum veneer plaster skim coat