## ESTIMATE
|  | PROJECT: TENANT IMPROVEMENT FOR MARINATED MASALA MEATS | [10 empty] | Web: http://sigmaestimations.com Email: info@sigmaestimations.com
LOCATION: 2450 N. BRAWLEY AVE #108 FRESNO, CA 93722
ITEM # | DWG # | CSI #/SUB DETAIL | DESCRIPTION | QTY. | WASTE | QTY. W/ WASTE | UNIT | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR RATE | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST
|  | 10000 | DIVISION 01 — GENERAL REQUIREMENTS
1 |  |  | Submittal Procedures | 1 | 0% | 1 | LS | 0 | 0 | 53.48 | 0 | 0 | 0 | 0
2 |  |  | Temporary Facilities and Controls | 1 | 0% | 1 | LS | 0 | 0 | 53.48 | 0 | 0 | 0 | 0
3 |  |  | Closeout Procedures | 1 | 0% | 1 | LS | 0 | 0 | 53.48 | 0 | 0 | 0 | 0
4 |  |  | Payment Procedures | 1 | 0% | 1 | LS | 0 | 0 | 53.48 | 0 | 0 | 0 | 0
5 |  |  | Contract Modification Procedures | 1 | 0% | 1 | LS | 0 | 0 | 53.48 | 0 | 0 | 0 | 0
6 |  |  | Maintenance & Traffic Protection | 1 | 0% | 1 | LS | 0 | 0 | 53.48 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [11 empty] | 0
|  | 20000 | DIVISION 02 — EXISTING CONDITIONS
Selective Demolition
7 | A1 | A1 | Remove existing floor finish | 831.05 | 5% | 872.6025 | SF | 0.065 | 56.7192 | 53.48 | 3033.3408 | 0 | 0 | 3033.3408
8 | A1 | A1 | Remove existing floor tiles | 57.73 | 5% | 60.6165 | SF | 0.07 | 4.2432 | 53.48 | 226.9239 | 0 | 0 | 226.9239
9 | A1 | A1 | Remove existing wall base | 160.33 | 5% | 168.3465 | LF | 0.02125 | 3.5774 | 53.48 | 191.3174 | 0 | 0 | 191.3174
10 | A1 | A1 | (5'-0" H) Remove existing wall tiles | 135.6 | 5% | 142.38 | SF | 0.07 | 9.9666 | 53.48 | 533.0138 | 0 | 0 | 533.0138
11 | A1 | A1 | Patch & prepare existing surface to receive new wall finish | 1785 | 5% | 1874.25 | SF | 0.0875 | 163.9969 | 53.48 | 8770.5529 | 0 | 0 | 8770.5529
12 | A1 | A1 | Remove existing (2'-0" Deep) Base Cabinet | 6.07 | 5% | 6.3735 | LF | 0.3 | 1.912 | 53.48 | 102.2564 | 0 | 0 | 102.2564
13 | A1 | A1 | Remove existing sink | 2 | 0% | 2 | EA | 2.375 | 4.75 | 53.48 | 254.03 | 0 | 0 | 254.03
Structure Demolition
14 | P1 | P1 | Remove existing concrete slab including base course | 235.5 | 5% | 247.275 | SF | 0.07 | 17.3092 | 53.48 | 925.6987 | 0 | 0 | 925.6987
15 | P1 | P1 | Sawcut existing concrete slab | 314 | 5% | 329.7 | LF | 0.1125 | 37.0913 | 53.48 | 1983.64 | 0 | 0 | 1983.64
Hauling
16 | P1 | P1 | Haul off Demo Building Material Offsite | 15.0819 | 5% | 15.836 | CY | 0.875 | 13.8565 | 53.48 | 741.0456 | 0 | 0 | 741.0456
|  |  | SUBTOTAL | [11 empty] | 16761.8196
|  | 30000 | DIVISION 03 — CONCRETE
Concrete Slab
17 | P1 | P1 | (4" Thk) Concrete Slab | 235.5 | 5% | 247.275 | SF | 0.045 | 11.1274 | 53.48 | 595.092 | 2.7 | 667.6425 | 1262.7345
18 | P1 | P1 | (4" Thk) Aggregate Base Course | 2.8783 | 5% | 3.0223 | CY | 0.3 | 0.90668 | 53.48 | 48.489 | 18 | 54.4005 | 102.8895
19 | P1 | P1 | 6x6 - W1.4xW1.4 WWF | 235.5 | 5% | 247.275 | SF | 0.022 | 5.4401 | 53.48 | 290.9339 | 1.32 | 326.403 | 617.3369
Vapor Retarder
20 | P1 | P1 | 6Mil. Vapor Retarder @ Concrete Slab | 235.5 | 5% | 247.275 | SF | 0.02 | 4.9455 | 53.48 | 264.4853 | 1.2 | 296.73 | 561.2153
Formwork
21 | P1 | P1 | Formwork for Concrete Slab | 105.6 | 5% | 110.88 | SF | 0.05 | 5.544 | 53.48 | 296.4931 | 3 | 332.64 | 629.1331
Misc.
22 | P1 | P1 | Hilti Epoxy #3 Dowel Bars (1'-0" Long) - Embed 6" into Existing Slab | 120.32 | 5% | 126.336 | LBS | 0.018 | 2.274 | 53.48 | 121.6161 | 1.08 | 136.4429 | 258.059
Mobilization
23 | P1 | P1 | Mobilization for Steel/Reinforcement | 0.06 | 5% | 0.063 | TONS | 18.75 | 1.1812 | 53.48 | 63.1732 | 0 | 0 | 63.1732
|  |  | SUBTOTAL | [11 empty] | 3494.5415
|  | 60000 | DIVISION 06 — WOOD, PLASTIC & COMPOSITES
Trim
24 | A4 | A4 | Door Trim | 34 | 5% | 35.7 | LF | 0.025 | 0.8925 | 53.48 | 47.7309 | 1.5 | 53.55 | 101.2809
|  |  | SUBTOTAL | [11 empty] | 101.2809
|  | 80000 | DIVISION 08 — OPENINGS
Doors
25 | A4 | A4 | 101 - (3'-0"x3'-0") Solid Core Wood Door w/ Wood Frame | 1 | 0% | 1 | EA | 1.8562 | 1.8562 | 53.48 | 99.2722 | 420.75 | 420.75 | 520.0222
26 | A4 | A4 | 102 - (3'-0"x7'-0") Solid Core Wood Door w/ Wood Frame | 1 | 0% | 1 | EA | 3.2625 | 3.2625 | 53.48 | 174.4785 | 739.5 | 739.5 | 913.9785
Door Hardware
27 | A4 | A4 | Hardware Set 4 - (2) PR Butts: Hager, BB1279 4-1/2" x 4-1/2" x US26D - (1) Office Lock: Schlage, Neptune AL50PD x 626 - (1) Wall Stop: Hager, 234W, 626 | 2 | 0% | 2 | EA | 1.4062 | 2.8125 | 53.48 | 150.4125 | 318.75 | 637.5 | 787.9125
|  |  | SUBTOTAL | [11 empty] | 2221.9133
|  | 90000 | DIVISION 09 — FINISHES
Stud Walls
Note: Deck Height is Assumed to be 12'. Please verify.
28 |  |  | 2x4 Wood Stud Interior Wall, (12'-0" H) | 14 | 5% | 14.7 | LF
29 | A1 | A1 | 5/8" Gypsum Board on Both Sides - 4'x8' | 8.3125 | 0% | 8.3125 | EA | 0.384 | 3.192 | 53.48 | 170.7082 | 23.04 | 191.52 | 362.2282
30 | A1 | A1 | 2x4 DF#2 Wood Studs @ 16" O.C. (12'-0" H) | 12.5263 | 0% | 12.5263 | EA | 0.312 | 3.9082 | 53.48 | 209.0111 | 18.72 | 234.4926 | 443.5037
31 | A1 | A1 | 2x4 Single P.T. Sill Plate | 14 | 5% | 14.7 | LF | 0.028 | 0.4116 | 53.48 | 22.0124 | 1.68 | 24.696 | 46.7084
32 | A1 | A1 | 2x4 Double Top Plate | 28 | 5% | 29.4 | LF | 0.026 | 0.7644 | 53.48 | 40.8801 | 1.56 | 45.864 | 86.7441
33 | A1 | A1 | Acoustical Sealant on Both Sides @ Top & Bottom | 56 | 5% | 58.8 | LF | 0.01 | 0.588 | 53.48 | 31.4462 | 0.6 | 35.28 | 66.7262
Floor Tiles
34 | A1 | A1 | Ceramic Tile | 271.72 | 5% | 285.306 | SF | 0.0875 | 24.9643 | 53.48 | 1335.0894 | 8.5 | 2425.101 | 3760.1904
35 | A1 | A1 | Red Quarry Tile | 613.6 | 5% | 644.28 | SF | 0.0875 | 56.3745 | 53.48 | 3014.9083 | 8.25 | 5315.31 | 8330.2183
Floor Transition Strip
36 | A1 | A4 | Aluminum Bar Floor Transition Strip | 9.01 | 5% | 9.4605 | LF | 0.035 | 0.33112 | 53.48 | 17.7082 | 2.1 | 19.867 | 37.5752
Wall Base
37 | A1 | A1 | Coved Ceramic Tile Base | 85.21 | 5% | 89.4705 | LF | 0.028 | 2.5052 | 53.48 | 133.9767 | 1.68 | 150.3104 | 284.2871
38 | A1 | A1 | Coved Quarry Tile Base | 122.91 | 5% | 129.0555 | LF | 0.0265 | 3.42 | 53.48 | 182.9 | 1.59 | 205.1982 | 388.0983
Wall Panels
39 | A1 | A1 | Fiberglass Reinforced Plastic (FRP) Panel Manufacturer: Marlite Color: White | 1269.57 | 5% | 1333.0485 | SF | 0.045 | 59.9872 | 53.48 | 3208.1145 | 2.7 | 3599.231 | 6807.3455
Paint
Note: One primer coat & two finish coats are assumed, unless otherwise noted.
40 | A1 | A1 | (9'-0" H) Wall Paint Finish: Washable Gloss Color: White | 768.15 | 5% | 806.5575 | SF | 0.0135 | 10.8885 | 53.48 | 582.3184 | 0.81 | 653.3116 | 1235.63
41 | A3 | A1 | Gypsum Board Ceiling Paint Finish: Semi-Gloss Color: White | 105.24 | 5% | 110.502 | SF | 0.0165 | 1.8233 | 53.48 | 97.5092 | 0.99 | 109.397 | 206.9062
42 | A4 | A4 | Paint on (3'-0"x3'-0") Solid Core Wood Door w/ Wood Frame | 1 | 0% | 1 | EA | 0.54 | 0.54 | 53.48 | 28.8792 | 32.4 | 32.4 | 61.2792
43 | A4 | A4 | Paint on (3'-0"x7'-0") Solid Core Wood Door w/ Wood Frame | 1 | 0% | 1 | EA | 0.84 | 0.84 | 53.48 | 44.9232 | 50.4 | 50.4 | 95.3232
44 | A4 | A4 | Door Trim Paint | 34 | 5% | 35.7 | LF | 0.011 | 0.3927 | 53.48 | 21.0016 | 0.66 | 23.562 | 44.5636
|  |  | SUBTOTAL | [11 empty] | 22257.3275
|  | 100000 | DIVISION 10 — SPECIALTIES
Shelving
45 | A1 | A1 | (1'-0" Deep) Wall Shelf | 7.95 | 5% | 8.3475 | LF | 0.9375 | 7.8258 | 53.48 | 418.5228 | 87.5 | 730.4062 | 1148.929
46 | A1 | A1 | (1'-2" Deep) Wall Shelf | 7.5 | 5% | 7.875 | LF | 0.99 | 7.7962 | 53.48 | 416.9434 | 92.4 | 727.65 | 1144.5935
47 | A1 | A1 | (1'-2" Deep) Storage Shelving | 3.04 | 5% | 3.192 | LF | 0.99 | 3.1601 | 53.48 | 169.0011 | 92.4 | 294.9408 | 463.9419
48 | A1 | A1 | (1'-4" Deep) Storage Shelving | 31.75 | 5% | 33.3375 | LF | 1.0624 | 35.4169 | 53.48 | 1894.0972 | 99.155 | 3305.5798 | 5199.677
49 | A1 | A1 | (1'-8" Deep) Storage Shelving | 7.17 | 5% | 7.5285 | LF | 1.2651 | 9.5243 | 53.48 | 509.3599 | 118.076 | 888.9352 | 1398.295
Lockers
50 | A2 | A2 | 6 Tier Employee Locker - Unassembled Manufacturer: Regency Space Solutions Model: #600LC16122KG Color: Gray Size: 12"x12"x78" | 1 | 0% | 1 | EA | 1.1562 | 1.1562 | 53.48 | 61.8362 | 185 | 185 | 246.8363
Toilet Accessories
51 | A1, A2 | A2 | Stainless Steel Soap Dispenser Manufacturer: Bobrick Model: B-2111 | 3 | 0% | 3 | EA | 0.29063 | 0.87188 | 53.48 | 46.6279 | 65.875 | 197.625 | 244.2529
52 | A1, A2 | A2 | Stainless Steel Paper Towel Dispenser Manufacturer: Bobrick Model: B-2974 | 3 | 0% | 3 | EA | 2.0259 | 6.0776 | 53.48 | 325.0326 | 459.2 | 1377.6 | 1702.6326
Signage
53 | A1 | A1 | (30"x1-1/2") "Door Unlocked" Tactile Sign | 1 | 0% | 1 | EA | 0.45237 | 0.45237 | 53.48 | 24.1926 | 102.5368 | 102.5368 | 126.7294
54 | A1 | A1 | (7"x10") "No Smoking" Tactile Sign Note: Size Assumed. | 1 | 0% | 1 | EA | 0.30811 | 0.30811 | 53.48 | 16.4775 | 69.8373 | 69.8373 | 86.3148
55 | A1 | A1 | (6"x6") "Handicap Logo ISA" Tactile Sign | 1 | 0% | 1 | EA | 0.27062 | 0.27062 | 53.48 | 14.4727 | 61.3403 | 61.3403 | 75.8129
Misc.
56 | A1 | A1 | Fire Extinguisher Class 2A:10B:C | 3 | 0% | 3 | EA | 0.9375 | 2.8125 | 53.48 | 150.4125 | 212.5 | 637.5 | 787.9125
|  |  | SUBTOTAL | [11 empty] | 12625.9278
|  | 110000 | DIVISION 11 — EQUIPMENT
Appliances
57 | A2 | A2 | 60" Worktop Refrigerator Manufacturer: Avantco Model: AWT-60R-HC | 1 | 0% | 1 | EA | 9.3485 | 9.3485 | 53.48 | 499.9594 | 2119 | 2119 | 2618.9594
58 | A2 | A2 | Commercial Two Door Reach-in Refrigerator Manufacturer: Kratos Model: 69K-773 | 2 | 0% | 2 | EA | 10.1426 | 20.2853 | 53.48 | 1084.8575 | 2299 | 4598 | 5682.8575
59 | A2 | A2 | Single Commercial Electric Convection Oven | 1 | 0% | 1 | EA | 11.4706 | 11.4706 | 53.48 | 613.4471 | 2600 | 2600 | 3213.4471
60 | A2 | A2 | 71" 3 Door Refrigerated Sandwich Prep Table Manufacturer: Avantco Model: APT-71-HC Note: Added on the basis of equipment schedule. Not seen on plans. Please verify. | 1 | 0% | 1 | EA | 8.7794 | 8.7794 | 53.48 | 469.5229 | 1990 | 1990 | 2459.5229
Equipment
61 | A2 | A2 | Commercial 72" Stainless Steel Work Table Manufacturer: Chef AAA Model: TL3243 | 1 | 0% | 1 | EA | 0.72194 | 0.72194 | 53.48 | 38.6096 | 259.9 | 259.9 | 298.5096
62 | A2 | A2 | Commercial 30" Stainless Steel Work Table Manufacturer: Chef AAA Model: TL3243 | 1 | 0% | 1 | EA | 0.78056 | 0.78056 | 53.48 | 41.7441 | 281 | 281 | 322.7441
63 | A2 | A2 | 100-1/2" Full Service Red Meat Case w/ Straight Glass - (4) Levels Manufacturer: Howard McCray Model: SC-CMS40E-8-BE-LED | 2 | 0% | 2 | EA | 11.4691 | 22.9382 | 53.48 | 1226.7327 | 8716.5 | 17433 | 18659.7327
|  |  | SUBTOTAL | [11 empty] | 33255.7733
|  | 120000 | DIVISION 12 — FURNISHINGS
Millwork
64 | A1 | A1 | (1'-5" D x 2'-10" H) Plastic Laminate Base Cabinet | 8 | 5% | 8.4 | LF | 1.455 | 12.222 | 53.48 | 653.6326 | 135.8 | 1140.72 | 1794.3526
Countertops
65 | A1 | A1 | (1'-5" D) Solid Surface Countertop | 8 | 5% | 8.4 | LF | 0.53625 | 4.5045 | 53.48 | 240.9007 | 32.175 | 270.27 | 511.1707
Misc.
66 | A1 | A1 | Trash Receptacle | 1 | 0% | 1 | EA | 1 | 1 | 53.48 | 53.48 | 160 | 160 | 213.48
|  |  | SUBTOTAL | [11 empty] | 2519.0032
|  | 220000 | DIVISION 22 — PLUMBING
Water Work
Water Pipes
Note: Pipe Material is Assumed as Copper Type L
67 | P1 | P1 | (1/2" Dia.) Hot Water Pipe | 62.24 | 5% | 65.352 | LF | 0.15 | 9.8028 | 53.48 | 524.2537 | 14.85 | 970.4772 | 1494.7309
68 | P1 | P1 | (3/4" Dia.) Hot Water Pipe | 15.04 | 5% | 15.792 | LF | 0.18 | 2.8426 | 53.48 | 152.0201 | 17.82 | 281.4134 | 433.4335
69 | P1 | P1 | (1" Dia.) Hot Water Pipe | 26.13 | 5% | 27.4365 | LF | 0.22 | 6.036 | 53.48 | 322.8069 | 21.78 | 597.567 | 920.3739
70 | P1 | P1 | (1/2" Dia.) Cold Water Pipe U.G. | 35.81 | 5% | 37.6005 | LF | 0.15 | 5.6401 | 53.48 | 301.6312 | 14.85 | 558.3674 | 859.9986
71 | P1 | P1 | (1/2" Dia.) Cold Water Pipe | 85.05 | 5% | 89.3025 | LF | 0.15 | 13.3954 | 53.48 | 716.3847 | 14.85 | 1326.1421 | 2042.5268
72 | P1 | P1 | (3/4" Dia.) Cold Water Pipe | 25.11 | 5% | 26.3655 | LF | 0.18 | 4.7458 | 53.48 | 253.8048 | 17.82 | 469.8332 | 723.6381
73 | P1 | P1 | (1" Dia.) Cold Water Pipe | 45.89 | 5% | 48.1845 | LF | 0.22 | 10.6006 | 53.48 | 566.9196 | 21.78 | 1049.4584 | 1616.378
74 | P1 | P1 | (1" Thick) Fiber Glass Insulation for Water Pipes Note: Material Assumed. | 295 | 5% | 309.75 | LF | 0.035 | 10.8413 | 53.48 | 579.79 | 3.465 | 1073.2837 | 1653.0738
Valves
75 | P1 | P1 | (3/4" Dia.) Temperature and Pressure Relief Valve | 1 | 0% | 1 | EA | 0.825 | 0.825 | 53.48 | 44.121 | 217.8 | 217.8 | 261.921
76 | P1 | P1 | (1" Dia.) Check Valve | 2 | 0% | 2 | EA | 0.625 | 1.25 | 53.48 | 66.85 | 165 | 330 | 396.85
77 | P1 | P1 | (1" Dia.) Gate Valve | 4 | 0% | 4 | EA | 0.74325 | 2.973 | 53.48 | 158.996 | 196.218 | 784.872 | 943.868
78 | P1 | P1 | (1" Dia.) Shut-off Valve | 1 | 0% | 1 | EA | 0.575 | 0.575 | 53.48 | 30.751 | 151.8 | 151.8 | 182.551
79 | P1 | P1 | (1" Dia.) Thermostatic Mixing Valve | 1 | 0% | 1 | EA | 0.825 | 0.825 | 53.48 | 44.121 | 217.8 | 217.8 | 261.921
80 | P1 | P1 | (1" Dia.) Vacuum Relief Valve | 1 | 0% | 1 | EA | 0.71329 | 0.71329 | 53.48 | 38.1467 | 188.3086 | 188.3086 | 226.4553
Sanitary Work
Note: Pipe Material is Assumed as PVC Schedule 40
Waste Pipe
81 | P1 | P1 | (2" Dia.) Waste Pipe U.G. | 52.91 | 5% | 55.5555 | LF | 0.168 | 9.3333 | 53.48 | 499.1462 | 16.632 | 923.9991 | 1423.1452
82 | P1 | P1 | (4" Dia.) Waste Pipe U.G. | 89.51 | 5% | 93.9855 | LF | 0.288 | 27.0678 | 53.48 | 1447.5872 | 28.512 | 2679.7146 | 4127.3018
83 | P1 | P1 | (2" Dia.) Waste Pipe | 24.45 | 5% | 25.6725 | LF | 0.168 | 4.313 | 53.48 | 230.6582 | 16.632 | 426.985 | 657.6432
84 | P1 | P1 | (4" Dia.) Waste Pipe | 6.39 | 5% | 6.7095 | LF | 0.288 | 1.9323 | 53.48 | 103.3413 | 28.512 | 191.3013 | 294.6426
85 | P1 | P1 | (1-1/2" Dia.) Vent Pipe | 46.54 | 5% | 48.867 | LF | 0.132 | 6.4504 | 53.48 | 344.9697 | 13.068 | 638.594 | 983.5637
86 | P1 | P1 | (2" Dia.) Vent Pipe | 25.04 | 5% | 26.292 | LF | 0.168 | 4.4171 | 53.48 | 236.2242 | 16.632 | 437.2885 | 673.5127
87 | P1 | P1 | (3" Dia.) Vent Pipe | 19.57 | 5% | 20.5485 | LF | 0.252 | 5.1782 | 53.48 | 276.9313 | 24.948 | 512.644 | 789.5753
Misc.
88 | P1 | P1 | (4" Dia.) Floor Clean Out (FCO) | 6 | 0% | 6 | EA | 0.66329 | 3.9797 | 53.48 | 212.8365 | 175.1086 | 1050.6514 | 1263.4879
89 | P1 | P1 | Round Frame W/ Smooth Top for (4" Dia.) Floor Clean Out (FCO) | 6 | 0% | 6 | EA | 0.22829 | 1.3697 | 53.48 | 73.2537 | 60.2686 | 361.6114 | 434.8651
90 | P1 | P1 | Cover for (4" Dia.) Floor Clean Out (FCO) | 6 | 0% | 6 | EA | 0.1929 | 1.1574 | 53.48 | 61.8978 | 50.9256 | 305.5536 | 367.4514
91 | P1 | P1 | Hub Outlet for (4" Dia.) Floor Clean Out (FCO) | 6 | 0% | 6 | EA | 0.17826 | 1.0695 | 53.48 | 57.1993 | 47.06 | 282.3599 | 339.5591
92 | P1 | P1 | Point of Connection from New to Existing Pipe (POC) | 2 | 0% | 2 | EA | 0.225 | 0.45 | 53.48 | 24.066 | 59.4 | 118.8 | 142.866
93 | P1 | P1 | Sample Station No Details Found. | 1 | 0% | 1 | EA | 1.3749 | 1.3749 | 53.48 | 73.5317 | 2574 | 2574 | 2647.5317
94 | P1 | P1 | (22 GA. x 1-1/2" Wide x 2'-6" Long) Seismic Strap for Water Heater | 2 | 0% | 2 | EA | 0.14329 | 0.28658 | 53.48 | 15.3263 | 37.8286 | 75.6571 | 90.9834
95 | P1 | P1 | Expansion Tank (ET-1) No Details Found. | 1 | 0% | 1 | EA | 0.94 | 0.94 | 53.48 | 50.2712 | 248.16 | 248.16 | 298.4312
96 | P1 | P1 | (2'-0" x 2'-0") Pan for Water Heater | 1 | 0% | 1 | EA | 0.32812 | 0.32812 | 53.48 | 17.5481 | 86.625 | 86.625 | 104.1731
97 | P1 | P1 | H-20 Rated Cast Iron Cover for Grease Interceptor | 2 | 0% | 2 | EA | 1.2906 | 2.5812 | 53.48 | 138.0452 | 340.725 | 681.45 | 819.4952
98 | P1 | P1 | Cast Iron (12" x 12") Grate for Floor Sink (FS-1) | 3 | 0% | 3 | EA | 0.625 | 1.875 | 53.48 | 100.275 | 165 | 495 | 595.275
99 | P1 | P1 | Access Panel for Trap Primer (TP-1) | 2 | 0% | 2 | EA | 0.925 | 1.85 | 53.48 | 98.938 | 244.2 | 488.4 | 587.338
100 | P1 | P1 | (5") Grate with 2" Outlet for Floor Drain (FD-1) | 2 | 0% | 2 | EA | 0.425 | 0.85 | 53.48 | 45.458 | 112.2 | 224.4 | 269.858
101 | P1 | P1 | (8-1/2") Round Traffic Duty Cast Iron Bar Grate for Floor Drain (FD-1) | 2 | 0% | 2 | EA | 0.43969 | 0.87937 | 53.48 | 47.029 | 116.0775 | 232.155 | 279.184
102 | P1 | P1 | Removeable PVC HUB Drain Cover for Floor Drain (FD-1) | 2 | 0% | 2 | EA | 0.37829 | 0.75658 | 53.48 | 40.4619 | 99.8686 | 199.7371 | 240.199
103 | P1 | P1 | (2" Dia.) Vent Through Roof (VTR) | 4 | 0% | 4 | EA | 0.7 | 2.8 | 53.48 | 149.744 | 184.8 | 739.2 | 888.944
104 | P1 | P1 | (3" Dia.) Vent Through Roof (VTR) | 1 | 0% | 1 | EA | 1.05 | 1.05 | 53.48 | 56.154 | 277.2 | 277.2 | 333.354
Plumbing Fixtures
105 | P1 | P1 | 3- Compartment Sink (S-1) Remarks: JOHN BOOS-E3S8-18-12T 18 W/ KROWNE FAUCET - 17-109WL | 1 | 0% | 1 | EA | 8.75 | 8.75 | 53.48 | 467.95 | 2310 | 2310 | 2777.95
106 | P1 | P1 | Prep Sink (S-2) Remarks: JOHN BOOS-41PB16204-1D24L-W/ COMPONENT FAUCET - KL54-8110-SE1 WALL MOUNT, 10" SPOUT | 1 | 0% | 1 | EA | 6 | 6 | 53.48 | 320.88 | 1584 | 1584 | 1904.88
107 | P1 | P1 | Hand Sink w/ 6" L & R Stainless Steel Splash Guards (HS-1) REMARKS: KROWNE METAL - HS-33 | 2 | 0% | 2 | EA | 4.925 | 9.85 | 53.48 | 526.778 | 1300.2 | 2600.4 | 3127.178
108 | P1 | P1 | Grease Interceptor (GI-1) REMARKS: GB-250-B 75 GPM, 4" INLET/ OUTLET | 1 | 0% | 1 | EA | 17.5 | 17.5 | 53.48 | 935.9 | 4620 | 4620 | 5555.9
109 | P1 | P1 | Floor Sink (FS-1) | 3 | 0% | 3 | EA | 5.375 | 16.125 | 53.48 | 862.365 | 1419 | 4257 | 5119.365
110 | P1 | P1 | Trap Primer (TP-1) | 2 | 0% | 2 | EA | 0.39829 | 0.79658 | 53.48 | 42.6011 | 105.1486 | 210.2971 | 252.8982
111 | P1 | P1 | Mop Sink w/ Stainless Steel Splash Guard (MS-1) REMARKS: FLORESTONE - MSR-2424 AMERICAN STANDARD WALL MOUNT 8344.212 EXPOSED YOKE UTILITY FAUCET | 1 | 0% | 1 | EA | 4.375 | 4.375 | 53.48 | 233.975 | 1155 | 1155 | 1388.975
112 | P1 | P1 | Water Heater (WH-1) REMARKS: GE 40 GALLON LOWBOY ELECTRIC WATER HEATER, SIDE PORT, 240 V (GE40L08BSM) | 1 | 0% | 1 | EA | 4.2812 | 4.2812 | 53.48 | 228.9612 | 1130.25 | 1130.25 | 1359.2113
113 | P1 | P1 | Floor Drain (FD-1) REMARKS: SMITH 2110 | 2 | 0% | 2 | EA | 1.125 | 2.25 | 53.48 | 120.33 | 297 | 594 | 714.33
114 | P1 | P1 | Hose Bib (HB-1) Assume General Price. No Details. | 1 | 0% | 1 | EA | 0.325 | 0.325 | 53.48 | 17.381 | 85.8 | 85.8 | 103.181
115 | - | - | Additional Cost Based on Plumbing Work Area | 390 | 5% | 409.5 | SF | 0.0175 | 7.1663 | 53.48 | 383.2511 | 2.8 | 1146.6 | 1529.851
|  |  | SUBTOTAL | [11 empty] | 54503.82
|  | 260000 | DIVISION 26 — ELECTRICAL
Power Items
Receptacles
116 | E1 | E1 | (20 AMP/125 V/2 Pole/3 W/ NEMA 5-20R) GFI Duplex Receptacle | 2 | 0% | 2 | EA | 0.675 | 1.35 | 53.48 | 72.198 | 108 | 216 | 288.198
117 | E1 | E1 | (20 AMP/125 V/2 Pole/3 W/ NEMA 5-20R) Duplex Receptacle | 3 | 0% | 3 | EA | 0.5 | 1.5 | 53.48 | 80.22 | 80 | 240 | 320.22
Switches
118 | E1 | E1 | (240 V/60AMP/1 Phase) Non- Fused Disconnect Switch | 2 | 0% | 2 | EA | 1.375 | 2.75 | 53.48 | 147.07 | 220 | 440 | 587.07
Breaker
119 | E1 | E1 | (20 AMP, 1 Pole) Breaker | 1 | 0% | 1 | EA | 0.375 | 0.375 | 53.48 | 20.055 | 60 | 60 | 80.055
120 | E1 | E1 | (60 AMP, 2 Pole) Breaker | 2 | 0% | 2 | EA | 1.325 | 2.65 | 53.48 | 141.722 | 212 | 424 | 565.722
Misc.
121 | E1 | E1 | Connection to Existing Lighting Circuit | 2 | 0% | 2 | EA | 1.125 | 2.25 | 53.48 | 120.33 | 0 | 0 | 120.33
Wiring & Conduits
Conduit Material is E.M.T. and Wires are Copper Type THHN U.N.O.
For Power Items
122 | E1 | E1 | (3/4" Dia.) Conduit | 160 | 5% | 168 | LF | 0.0336 | 5.6448 | 53.48 | 301.8839 | 2.016 | 338.688 | 640.5719
123 | E1 | E1 | (3) #12 Wire | 480 | 5% | 504 | LF | 0.012 | 6.048 | 53.48 | 323.447 | 0.72 | 362.88 | 686.327
124 | - | - | Additional Cost Based on Electrical Work Area | 250 | 5% | 262.5 | SF | 0.01325 | 3.4781 | 53.48 | 186.0101 | 2.12 | 556.5 | 742.5101
|  |  | SUBTOTAL | [11 empty] | 4031.0041
|  | 310000 | DIVISION 31 — EARTH WORK
Excavation
125 | - | - | Excavation for Waste Pipes | 9.8889 | 5% | 10.3833 | CY | 0.875 | 9.0854 | 53.48 | 485.8881 | 0 | 0 | 485.8881
126 | - | - | Excavation for Grease Interceptor | 1.2037 | 5% | 1.2639 | CY | 0.875 | 1.1059 | 53.48 | 59.1437 | 0 | 0 | 59.1437
Backfill
127 | - | - | Backfill for Waste Pipes | 9.7393 | 5% | 10.2263 | CY | 0.5 | 5.1131 | 53.48 | 273.4511 | 0 | 0 | 273.4511
128 | - | - | Backfill for Grease Interceptor | 0.7037 | 5% | 0.73889 | CY | 0.5 | 0.36944 | 53.48 | 19.7579 | 0 | 0 | 19.7579
Grading
129 | - | - | Soil Export Fluff Factor Applied | 0.86392 | 5% | 0.90711 | CY | 0.375 | 0.34017 | 53.48 | 18.1922 | 0 | 0 | 18.1922
|  |  | SUBTOTAL | [11 empty] | 856.4329
SUB TOTAL | [10 empty] | 51616.4778 |  | 101012.3662 | 152628.8441 | 152628.8441
TAX | [12 empty] | 8.5% |  | 12973.4517
PROFIT | [12 empty] | 10% |  | 15262.8844
CONTIGENCIES | [12 empty] | 5% |  | 7631.4422
TOTAL BASE BID | [14 empty] | 188496.6224
General Exclusions: Any kind of controlled inspection, contaminated material, architect and engineering fees, security, building charges, signage, sign off, protection of adjoining building (if any), any work not mentioned above.
General Notes: The prices used are taken from RS Means online i.e. the standard pricing, the company is not responsible for any kind of variations in the prices. So it is preferred to review the prices.

## UJ (hidden)
|  | PROJECT: | 625 PARK AVE PHASE 1B
|  | ADDRESS: | 625 PARK AVENUE,
NEW YORK, NY-10065.
[7 empty] | DATE | 2026-07-28
ITEM # | CSI SEC. | DESCRIPTION | QTY. | WASTE | QTY. W/ WASTE | UNIT | UNIT COST | TRADE COST |  |  | Single side areas
|  | SCOPE OF WORK | [8 empty] | Dry | Wet
1 | 09 29 | 2 layered 5/8" thick USG fiberock brand panels for walls and ceilings. | 11635 | 10% | 12798.5 | sf | 4 | 51194 | Type 1+Type 4+Type 6+ceiling | Type 1 | 2440 | 280 | 11635
2 | 09 29 | 2 layerd 5/8" thick USG fiberock aqua tough brand panels for wall and ceilings in wet areas. | 1185 | 10% | 1303.5 | sf | 4.5 | 5865.75 | Type 1+Type 4+Type 6+wet ceiling | Type 2 | 130 | 80 | 1185
3 | 09 29 | 2 layered 2 HR rated 5/8" thick USG fiberock brand panels for walls. | 260 | 10% | 286 | sf | 4.5 | 1287 | Type 2 | Type 3 |  |  | 260
4 | 09 29 | 2 layered 2 HR rated 5/8" thick USG fiberock aqua tough brand panels for walls in wet areas. | 160 | 10% | 176 | sf | 5 | 880 | Type 2 | Type 4 | 290 |  | 160
5 | 09 29 | 3 layered 3 HR rated 5/8" thick USG fiberock brand panels for walls. | 300 | 10% | 330 | sf | 4 | 1320 | Type 7 | Type 5 | 1200 |  | 300
6 | 09 26 | 3/32" thick gypsum veneer plaster skim coat. | 14740 | 10% | 16214 | sf | 4 | 64856 | Type 1+Type 2+ Type 4+Type 5+Type 6 +Type 7 | Type 6 | 2345 | 325 | 14740 | 14740 | 0
7 | 09 22 16 | 3-5/8" steel studs 20 GA @ 16" O.C. | 5750 | 10% | 6325 | sf | 2.5 | 15812.5 | Type 1+Type 2+Type 6+Type 7 | Type 7 | 150 |  | 5750
8 | 10 22 16 | 1-5/8" steel studs 20 GA @ 12" O.C. | 290 | 10% | 319 | sf | 2 | 638 | Type 4 | Type 8 | 20
8 | 09 22 26 | Ceiling suspension system. | 4130 | 10% | 4543 | sf | 3 | 13629 |  | Ceiling | 3830 | 300 | 4130
9 | 07 21 16 | Batt Insulation. | 5600 | 5% | 5880 | sf | 2 | 11760 | Type 1+Type 2+ Type 6 |  |  |  | 5600
10 | 07 21 16 | Batt Insulation type SAFB. | 150 | 10% | 165 | sf | 2.2 | 363 | Type 7 |  |  |  | 150
SUB TOTAL | [7 empty] | 167605.25
INSURANCE (3%) | [7 empty] | 5028.1575
TOTAL BASE BID | [7 empty] | 172633.4075
Exclusions
| 1 | Mouldings
| 2 | Patch work
| 3 | Fixtures
| 4 | Electrical work
| 5 | Stone and/or tile work
| 6 | Wall type 8 [no details on provided on the drawing]

## DETAIL (2) (hidden)
| PROJECT: | 625 PARK AVE PHASE 1B
| ADDRESS: | 625 PARK AVENUE
NEW YORK, NY 10065
|  |  |  | DATE | 2026-07-28
ITEM # | DESCRIPTION | UNIT COST | QTY. | UNIT | TRADE COST
SCOPE OF WORK
1 | 5/8" 2 layered USG fiberock brand panels. |  | 7898 | sf | 0 | Type 1+Type 4+Type 6+ceiling
2 | 5/8" 2 layered USG fiberock aqua tough brand panels. (Wet area). |  | 936 | sf | 0 | Type 1+Type 4+Type 6+wet ceiling |  | Height 9'6"
3 | 2 HR rated 5/8" 2 layered USG fiberock brand panels. |  | 128 | sf | 0 | Type 2 |  | For Doors & Cabinets 1'3"
4 | 2 HR rated 5/8" 2 layered USG fiberock aqua tough brand panels. (Wet area). |  | 78 | sf | 0 | Type 2
5 | 3 HR rated 5/8" 3 layered USG fiberock brand panels. |  | 148 | sf | 0 | Type 7
6 | 3/32" thick gypsum veneer plaster skim coat. |  | 6589 | sf | 0 | Type 1+Type 2+ Type 4+Type 5+Type 6 +Type 7
7 | 3 5/8" steel studs 20 GA @ 16" O.C. |  | 4968 | sf | 0 | Type 1+Type 2+Type 6+Type 7
8 | 1 5/8" steel studs 20 GA @ 12" O.C. |  | 277 | sf | 0 | Type 4
9 | Batt sound Insulation. |  | 4821 | sf | 0 | Type 1+Type 2+ Type 6
10 | Batt sound Insulation type SAFB. |  | 148 | sf | 0 | Type 7 | QTY Details
[7 empty] | Type 1 | 2538 | 2520
TOTAL |  |  |  |  | 0 |  | Type 2 | 205 | 206
| Exclusions | [5 empty] | Type 3 | N/A
1 | Mouldings | [5 empty] | Type 4 | 277 | 290
2 | Patch work | [5 empty] | Type 5 | 1342 | 1200
3 | Fixtures | [5 empty] | Type 6 | 2077 | 2670
4 | Electrical work | [5 empty] | Type 7 | 148 | 150
5 | Stone and/or tile work | [5 empty] | Type 8 | 22 | 20 | No details given
6 | [6 empty] | Ceiling | 3830
[7 empty] | Wet Ceiling | 292
DETAILS
| Type 1- Interior Partition |  |  |  |  | Type 2- 2HR rated Interior Partition | Type
| 2 layers 5/8' USG fiberock brand panels (Fiberock aqua tough brand at all wet areas) Glue second layer, finished with 3-32" thick gypsum veneer plaster skim coat. 3 5/8" Stl studs 20 GA @16" O.C with Batt insulation. 2 layers 5/8" USG fiberock brand panels(Fiberock aqua tough brand at all wet areas finished 3-32" thick gypsum veneer plaster skim coat |  |  |  |  | 2 layers 5/8' USG fiberock brand panels (Fiberock aqua tough brand at all wet areas) Glue second layer, finished with 3-32" thick gypsum veneer plaster skim coat. 3 5/8" Stl studs 20 GA @16" O.C with Batt insulation. 2 layers 5/8" USG fiberock brand panels(Fiberock aqua tough brand at all wet areas finished 3-32" thick gypsum veneer plaster skim coat
| TYPE 3 Interior partition at chase |  |  |  |  | TYPE 4 Pocket door partition
| 2 layer 5/8" USG fiberock brand panels ( Fiberock aqua tough brand at all wet areas ) Glue second layer fill batt insulation, finished with 3/32" thick gypsum veneer plaster skim coat. 20 Ga 2-1/2" mtl studs @ 16 O.C. with batt insulation. Pipe chase space. 2 layers 5/8" USG fiberock brand panels (Fiberock aqua tough brand at all wet areas finished with 3/32" thick gypsum veneer plaster skim coat. |  |  |  |  | 2 Layers 5/8" USG fiberock brand panels (Fiberock Aqua tough brand at all wet areas) Glue second layer, Finished with 3/32" thick gypsum veneer plaster skim coat. 1 5/8" 20 Ga stl studs @12 O.C. 2 layer 5/8" USG fiberock brand panels (fiberock aqua tough brand at wet areas) finished with 3/32" thick gypsum veneer plaster skim coat.
| TYPE 5 Existing wall skim coat |  |  |  |  | TYPE 6 EXISTING WALL- Furring
| Apply 3/32" Thick gypsum veneer skim coat. Fill and smooth all imperfections |  |  |  |  | 3 5/8" 20 Ga stl studs @ 16 O.C. 2 layers 5/8" USG fiberock brand panels dimensions from exterior wall to be varified with architect. Fill with Batt insulation, Finished with 3/32" Thick Gypsum veneer plaster skim coat
TYPE 7 Interior Partition- 3 Hr rated
3 layer 5/8" USG fiberock brand panels, glue third layer finished with 3/32" thick gypsum veneer plaster skim coat. 3 5/8" stl studs 20 GA @16"O.C. Batt insulation Type SAFB. 3 layer 5/8" USG fiberock brand panels, glue third layer finished with 3-32" thick gypsum veneer plaster skim coat